## Slide 1: Initial Steps of Resucitation

## Slide 2
American Academy of Pediatrics 2010
Kattwinkel J et al Pediatrics, 2010

## Slide 4: Targeted Pre ductal Spo2 After Birth
1 min 60-65%
2 min 65-70%
3 min 70-75%
4 min 75-80%
5 min 80-85%
10 min 85-95%

## Slide 5
Immediately after birth the following questions must be taken:
•Term gestation?
•Breathing or crying?
•Good muscle tone?

## Slide 6
Wrapping the baby in a warm and dry towel.
Placing the baby on the mother’s chest in supine position.
Wiping the mouth and nose with a piece of gauze or a towel if necessary.
Evaluating the baby.
Placing the baby in prone position.
Covering the baby and the mother with a warm blanket.
Encouraging breast feeding.

## Slide 8
Immediate
skin-to-skin
Contact &
Breastfeeding
(routine care)
8

## Slide 9: IN Complecated Delivery
Provide warmth.
Position; clear airway
(as necessary).
Dry, stimulate, reposition.

## Slide 11: Position
Steps of resuscitation
11
√

## Slide 13
Position, clear airways (if needed)
Steps of resuscitation
13

## Slide 16: Do Not Attempt This!
?
Notes: 16

## Slide 17
Decisions and actions during newborn resuscitation are based on:
Respirations
Heart rate
Color/oximetry

## Slide 24
HR<100 bpm,
OR
Gasping,
OR
Apnea, despite stimulation
Provide PPV

## Slide 25
If the baby is breathing and the HR>100 bpm, but:
Respirations are labored,
or
The baby has persistent cyanosis
CPAP by face mask
You should also attach an oximeter to assess the efficacy of your action and the possible need for supplemental O2.

## Slide 29
X
X
X
X
X
X
X
Need of Oxygen According to SpO2 – USA Guidelines

## Slide 30: Targeted Pre ductal Spo2 After Birth
1 min 60-65%
2 min 65-70%
3 min 70-75%
4 min 75-80%
5 min 80-85%
10 min 85-95%

## Slide 37: POSITIVE PRESURE VENTILATION
Use of Resuscitation Devices for Positive Pressure Ventilation

## Slide 38
American Academy of Pediatrics 2010
Kattwinkel J et al Pediatrics, 2010

## Slide 40: Positive pressure ventilation
Ventilation of the lungs
  single most important and most effective step in cardiopulmonary resuscitation of the compromised newborn

## Slide 41: NRP: Assisted Ventilation Devices
A self-inflating bag,
a flow-inflating bag,
or a T-piece mechanical device designed to regulate pressure as needed

## Slide 43: Self inflating bag

## Slide 44: Self inflating bag
Fill spontaneously after they are squeezed, pulling oxygen or air into the bag
Remain inflated at all times
Can deliver positive-pressure ventilation without a compressed gas source; user must be certain the bag is connected to an oxygen source for the purpose of neonatal resuscitation
Require attachment of an oxygen reservoir to deliver 100% oxygen

## Slide 45: Without Reservoir

## Slide 46: With Reservoir

## Slide 47: Self inflating bag Advantages
Does not need a gas source to inflate
Pressure release valve
Always refills after being squeezed and
Is always inflated
Pressure release (pop-off) valve makes over-inflation less likely
Easier to use

## Slide 48: Self inflating bag Disadvantages
Requires a reservoir to deliver 100% oxygen
Requires tight face-mask seal to inflate the lungs
Requires oxygen reservoir to provide high concentration of oxygen
Cannot give free-flow oxygen through the mask
Cannot be used for CPAP. No PEEP without special valve

## Slide 49: NRP: Self inflating bag and PEEP
PEEP may be provided using an additional PEEP valve on a self-inflating bag
Self-inflating bags cannot provide CPAP

## Slide 50: Testing the self-inflating bag
Squeeze against your palm
  Pressure felt
  Pressure release valve
  Pressure manometer
  Re-inflation

## Slide 51: Flow inflating bag

## Slide 53: Flow inflating bag
Fill only when oxygen from a compressed source flows into them
Depend on a compressed gas source
Must have a tight face-mask seal to inflate
Use a flow-control valve to regulate pressure-inflation

## Slide 54: Flow inflating bag will not work if
The mask is not properly sealed over the newborn’s nose and mouth
There is a tear in the bag
The flow-control valve is open too wide.
The pressure gauge is missing

## Slide 55: Flow inflating bag Advantages
Delivers 100% oxygen at all times
Easy to determine the adequacy of seal
“Stiffness” of lungs can be felt
Can be used to deliver 100% free flow oxygen
Delivers 21% to 100% oxygen, depending on the source
Easy to assess seal on the baby’s face
Can be used to give free-flow oxygen through the mask

## Slide 56: Flow inflating bag Disadvantages
Requires a tight seal to remain inflated
Requires a gas source to inflate
No safety pop-off valve
Requires more experience

## Slide 57: NRP: The T-Piece Resuscitator

## Slide 58: T-piece Resuscitator
Advantages:
Consistent delivery of pressure
Reliable control of peak inspiratory and positive end-expiratory pressure
Reliable delivery of 100% oxygen
No fatigue from bagging

## Slide 60
Self inflating (Laerdal) bag and mask with a manikin
No PEEP
P
F
V

## Slide 61: T-piece Resuscitator
Disadvantages:
Requires compressed gas source
Must have tight face-mask seal to inflate lungs
Compliance of the lung cannot be “felt”
Requires pressure to be set prior to use
Changing pressures during use is more difficult

## Slide 63: Initial Set up
Gas Flow Rate Set at 5-10 lit/min
Maximum pressure relief valve Set at 30- 50 cmH2o
PIP Set at 20 cmH2o
PEEP 4-6cmH2o

## Slide 64
LOOK & LISTEN TECHNIQE
LOOK AT THE INFANT NOT AT THE MANOMETER

## Slide 65: Masks
Cushioned/Non-cushioned
Round/Anatomical shaped
Size 0 or 1 or 2

## Slide 66: Bag and Mask: Equipment
Mask should cover
Tip of Chin
Mouth
Nose

## Slide 67: Correct position of mask

## Slide 69: A good resuscitation bag
Size 200-750 ml
Capable of avoiding excessive pressure
  A pressure pop-off valve and/or a pressure gauge manometer
Capable of giving 100% oxygen
Appropriate sized mask

## Slide 73: Frequency of Ventilation:
40 to 60 breaths per minute

## Slide 74: Signs of Effective Ventilation
Signs of adequate ventilation:
Improved heart rate,POx, bilateral lung sounds, chest rising

## Slide 75: Targeted Pre ductal Spo2 After Birth
1 min 60-65%
2 min 65-70%
3 min 70-75%
4 min 75-80%
5 min 80-85%
10 min 85-95%

## Slide 76: Infant Not Improving and Chest Not Adequately Expanding
Possible causes
Seal inadequate
Airway blocked
Not enough pressure

## Slide 77: Mr. Sopa
M Adjust Mask to assure good seal
R Reposition airway
S Suction nose/mouth (if needed)
O Open mouth and move jaw forward
P Increase Pressure until chest rises
A Consider Airway Alternative (ET tube/LMA)

## Slide 78: Oxygen Administration

## Slide 79: Insertion of Orogastric Tube

## Slide 80: Chest Compression

## Slide 88
After 45 to 60 seconds of chest compressions and ventilation, check the HR. If the HR is:
Greater than 60 bpm, discontinue compressions and continue ventilation at 40 to 60 bpm.
Greater than 100 bpm, discontinue compressions and gradually discontinue ventilation if the newborn is breathing spontaneously.
Less than 60 bpm, intubate the newborn (if not already done), and give epinephrine, preferably IV.

## Slide 90: Epinephrin 1/10000
Intravenously: 0.1-0.3 mL/kg.
Endotracheally: 0.5-1 mL/kg.
(may dilute with normal saline to 1 to 2 mL if giving endotracheally).

## Slide 91: Normal saline.
10 mL/kg.
Over 5-10 minutes.

## Slide 92: THANKS